## Sheet1
Tier | Facility Type | Annual TWPI | Relative Humidity | Max. Temp. | Light Exposure | Disaster Preparedness | Security | Prioritize
|  | In the Tier System, Annual Time-weighted Preservation Index (TWPI) is the primary criteria for tracking climate control of the storage environment. If unavailable, a range for Relative Humidity and Maximum Temperature are provided. | [5 empty] | Prioritized items in the storage space.
0 | Full Service Library - Open Access Area | Unable to monitor or report on any measures. | [5 empty] | ~Digitally preserved titles ~Generally, titles or copies identified in a project as being at low risk of loss and having minimal impact if lost (e.g. titles with many retained copies)
1 | Full Service Library - Open Access Area | N/A | Some monitoring ability. |  |  |  |  | ~Digitally preserved titles ~Generally, titles or copies identified in a project as being at low risk of loss and having minimal impact if lost (e.g. titles with many retained copies)
2 | Standalone Storage Facility or Full Service Library - Closed Open Access Area | 40 or better | 30-60% | 70 degrees F or less | Unlimited | At a minimum: fire detection. | N/A | ~Electronically available, but not digitally preserved titles ~Generally, titles or copies identified in a project as being at risk of loss and having impact if lost
3 | Standalone Storage Facility or Full Service Library - Closed Access Area | 75 or better | 30-50% | 65 degrees F or less | Unlimited | At a minimum: fire detection and suppression. | Key card or lock | ~Electronically available, but not digitally preserved titles ~Generally, titles or copies identified in a project as being at risk of loss and having impact if lost
4 | Standalone Storage Facility | 120 or better | 30-40% | 55 degrees F or less | Limited to work hours | At a minimum: fire detection, suppression, and notification to response team; reinforced building if relevant; materials located to minimize flooding risk; general disaster plan in place. | Key card or lock Explicit and up to date security policy or plan | ~Last or scarce copies ~Print-only titles ~Generally, titles or copies identified in a project as being at high risk of loss and high impact if lost